## PC parameters list
ID PC parameter | CAS No | SANDRE No | Physico-chemical parameter | Chemical family | Usage family | Category (à renseigner dans votre base selon vos besoins) | Unit in liquid | Unit in solid | Conversion factor to mg/L | Free col. | SIPIBEL | REMPAR | LUMIEAU-Stra | COSMET'EAU | SMS | MICROMEGAS | BIOTECH | MATRIOCHKAS | MICROPOLIS | MICRO-REUSE | REGARD | ROULEPUR | SENEUR
PC_0001 | - | 1313 | BOD5 | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | mg/L |  | 1 |  | 1
PC_0002 | - | 1841 | DOC (Dissolved Organic Carbon) | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | mg/L |  | 1 |  | 1
PC_0003 | - | 1314 | COD (Chemical Oxygen Demand) | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | mg/L |  | 1 |  | 1
PC_0004 | - | - | Residual COD | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | mg/L |  | 1 |  | 1
PC_0005 | - | 1319 | TKN (ammonia + organic N) | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | mg/L | % N DM | 1 |  | 1
PC_0006 | - | - | Residual NTK | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | mg/L |  | 1 |  | 1
PC_0007 | - | 1305 | TSS (Total Suspended Solids) | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | mg/L |  | 1 |  | 1
PC_0008 | 7723-14-0 | 1350 | Total phosphorous | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | mg/L | % P2O5 DM | 1 |  | 1
PC_0009 | 14265-44-2 | 1433 | PO43- | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | mg/L |  | 1 |  | 1
PC_0011 | - | 1302 | pH | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | - |  | - |  | 1
PC_0012 | 14798-03-9 | 1335 | NH4+ | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | mg/L | % N DM | 1 |  | 1
PC_0014 | 14797-55-8 | 1340 | NO3- | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | mg/L |  | 1 |  | 1
PC_0016 | 14797-65-0 | 1339 | NO2- | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | mg/L |  | 1 |  | 1
PC_0018 | 7727-37-9 | 6018 | Total nitrogen | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | mg/L |  | 1 |  | 1
PC_0019 | - | 1303 | Conductivity (25°C) | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | µS/cm |  | - |  | 1
PC_0020 | - | 1841 | TOC (Total Organic Carbon) | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | mg/L |  | 1 |  | 1
PC_0021 | - | 7153 | Dry content | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  |  | % | - |  | 1
PC_0022 | - | 5540 | Organic fraction | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  |  | % DM | - |  | 1
PC_0023 | - | - | Mineral fraction | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  |  | % DM | - |  | 1
PC_0024 | 107-06-2 | 1161 | 1,2-dichloroethane | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0025 | 75-34-3 | 1160 | 1,1-dichloroethane | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0026 | 75-35-4 | 1162 | 1,1-dichloroethylene | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0027 | 156-59-2 | 1456 | 1,2-dichloroethylene (trans) | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0028 | 156-60-5 | 1727 | 1,2-dichloroethylene (cis) | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0029 | 67-72-1 | 1656 | Hexachloroethane | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0030 | 79-34-5 | 1271 | 1,1,2,2-tetrachloroethane | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0031 | 76-13-1 | 1196 | 1,1,2-trichlorotrifluoroethane | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0032 | 71-55-6 | 1284 | 1,1,1-trichloroethane | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0033 | 79-00-5 | 1285 | 1,1,2-trichloroethane | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0034 | 75-01-4 | 1753 | Vinyl chloride | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0035 | 106-93-4 | 1498 | 1,2-dibromoethane | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0036 | 78-87-5 | 1655 | 1,2-dichloropropane | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0037 | 74-97-5 | 1121 | Bromochloromethane | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0038 | 67-66-3 | 1135 | Chloroform | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0039 | 75-25-2 | 1122 | Bromoforme | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0040 | 74-87-3 | 1736 | Methyl chloride | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0041 | 107-05-1 | 2065 | 3-chloropropene | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0042 | 78-88-6 | 1653 | 2,3-dichloropropene | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0043 | 95-49-8 | 1602 | 2-chlorotoluene | Chlorobenzenes | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0044 | 108-41-8 | 1601 | 3-chlorotoluene | Chlorobenzenes | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0045 | 106-43-4 | 1600 | 4-chlorotoluene | Chlorobenzenes | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0046 | 108-90-7 | 1467 | Monochlorobenzene | Chlorobenzenes | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0047 | 95-50-1 | 1165 | 1,2-dichlorobenzene | Chlorobenzenes | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0048 | 142-28-9 | 1654 | 1,3-dichlorobenzene | Chlorobenzenes | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0049 | 106-46-7 | 1166 | 1,4-dichlorobenzene | Chlorobenzenes | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0050 | 10061-02-5 | - | Cis-1,3-dichloropropylene | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0051 | 10061-02-6 | 1835 | Trans-1,3-dichloropropylene | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0052 | - | 1158 | Dibromochloromethane | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1 |  | 1
PC_0053 | 75-09-2 | 1168 | Dichloromethane | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0054 | 75-27-4 | 1167 | Dichlorobromomethane | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0055 | 127-18-4 | 1272 | Tetrachloroethylene | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0056 | 56-23-5 | 1276 | Carbon tetrachloride | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0057 | 79-01-6 | 1286 | Trichloroethylene | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0058 | 75-69-4 | 1195 | Trichlorofluoromethane | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0059 | 526-73-8 | 1857 | 1,2,3-trimethylbenzene | BTEX | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0060 | 1634-04-4 | 1512 | Methyl tert-butyl ether (MTBE) | BTEX | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0061 | 98-82-8 | 1633 | Isopropylbenzene (cumene) | BTEX | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0062 | 99-87-6 | 1856 | 4-isopropyltoluene (cymene) | BTEX | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0063 | 98-06-6 | 1611 | Tert-butylbenzene | BTEX | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0064 | 104-51-8 | 1855 | n-butylbenzene | BTEX | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0065 | 108-67-8 | 1509 | 1,3,5-trimethylbenzene | BTEX | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0066 | 95-63-6 | 1609 | 1,2,4-trimethylbenzene | BTEX | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0067 | 1330-20-7 | 1780 | Xylenes | BTEX | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0068 | 100-41-4 | 1497 | Ethylbenzene | BTEX | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0069 | 71-43-1 | 1114 | Benzene | BTEX | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0070 | 108-88-3 | 1278 | Toluene | BTEX | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0071 | 100-42-5 | 1541 | Styrene | BTEX | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0072 | - | 1444 | Anionic surfactant | - | Surfactants |  | mg/L | mg/g MS | 1 |  | 1
PC_0073 | - | 1933 | Cationic surfactant | - | Surfactants |  | mg/L | mg/g MS | 1 |  | 1
PC_0074 | - | 1443 | Non-ionic surfactant | - | Surfactants |  | mg/L | mg/g MS | 1 |  | 1
PC_0075 | 140-66-9 | 1959 | 4-tert-octylphenol | Alkylphenols | Surfactants |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0076 | 104-40-5 | 5474 | 4-n-nonylphenol | Alkylphenols | Surfactants |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0077 | 104-35-8 | 5345 | Nonylphenol monoethoxylate (NP1OE) | Ethoxylates/carboxylates of octyl/nonyl phenols | Surfactants |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0078 | 20427-84-3 | 5346 | Nonylphénol diethoxylate (NP2OE) | Ethoxylates/carboxylates of octyl/nonyl phenols | Surfactants |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0079 | 3115-49-9 | 7080 | 4-nonylphenoxiacetic acid | Ethoxylates/carboxylates of octyl/nonyl phenols | Surfactants |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0080 | - | 1106 | AOX | Organohalogenated compounds | (Classic physico-chemical parameters) |  | mg/L | µg/g DM | 1 |  | 1
PC_0081 | 7782-50-5 | 1399 | Total chlorine (Cl) | Metals & chemical elements | (Metals & chemical elements) |  | mg/L |  | 1 |  | 1
PC_0082 | 7726-95-6 | 1378 | Total bromine (Br) | Metals & chemical elements | (Metals & chemical elements) |  | mg/L |  | 1 |  | 1
PC_0083 | 7782-41-4 | 3934 | Total fluorine (Fl) | Metals & chemical elements | (Metals & chemical elements) |  | mg/L |  | 1 |  | 1
PC_0084 | 7440-02-0 | 1386 | Nickel | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0085 | 7440-50-8 | 1392 | Copper | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0086 | 7440-66-6 | 1383 | Zinc | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0087 | 7440-47-3 | 1389 | Chrome | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0088 | 7440-38-2 | 1369 | Arsenic | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0089 | 7440-43-9 | 1388 | Cadmium | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0090 | 7440-54-2 | 2788 | Gadolinium | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0091 | 7439-97-6 | 1387 | Mercury | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0092 | 7439-92-1 | 1382 | Lead | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0093 | 103-90-2 | 5354 | Paracetamol | - | Analgesics |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0094 | 29122-68-7 | 5361 | Atenolol | - | Beta-Blockers |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0095 | 85721-33-1 | 6784 | Ciprofloxacin | Quinolones & Fluoroquinolones | Antibiotics |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0096 | 723-46-6 | 5356 | Sulfamethoxazole | Sulfonamids | Anticonvulsants |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0097 | 525-66-6 | 5363 | Propranolol | - | Beta-Blockers |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0098 | 298-46-4 | 5296 | Carbamazepine | - | Anticonvulsants |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0099 | 22071-15-4 | 5353 | Ketoprofen | Propanoates | Anti-inflammatory drugs |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0100 | 27220-47-9 | 7119 | Econazole | Azoles | Antifungal medications |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0101 | 15307-86-5 | 5349 | Diclofenac | Arylacetic acid derivatives | Anti-inflammatory drugs |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0102 | 69-72-7 | 5355 | Salicylic acid | Phenols & phenolic acids | Other pharmaceuticals |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0103 | 15687-27-1 | 5350 | Ibuprofen | - | Anti-inflammatory drugs |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0104 | 57-63-6 | 2629 | Ethinylestradiol | Steroids | Steroids and hormones |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0105 | 119478-56-7 | - | Meropenem | Carbapenems | Antibiotics |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0106 | 78110-38-0 | - | Aztreonam | - | Antibiotics |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0107 | 1404-90-6 | - | Vancomycin | - | Antibiotics |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0108 | 87-68-3 | 1652 | Hexachlorobutadiene | Organohalogenated compounds | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0109 | 608-93-5 | 1888 | Pentachlorobenzene | Chlorobenzenes | PAHs and combustion products |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0110 | 87-61-6 | 1630 | 1,2,3-Trichlorobenzene | Chlorobenzenes | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0111 | 120-82-1 | 1283 | 1,2,4-Trichlorobenzene | Chlorobenzenes | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0112 | 108-70-3 | 1629 | 1,3,5-Trichlorobenzene | Chlorobenzenes | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0113 | 120-12-7 | 1458 | Anthracene | Polycyclic aromatic hydrocarbons (PAHs) | PAHs and combustion products |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0114 | 206-44-0 | 1191 | Fluoranthene | Polycyclic aromatic hydrocarbons (PAHs) | PAHs and combustion products |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0115 | 91-20-3 | 1517 | Naphthalene | Polycyclic aromatic hydrocarbons (PAHs) | PAHs and combustion products |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0116 | 50-32-8 | 1115 | Benzo(a)pyrene | Polycyclic aromatic hydrocarbons (PAHs) | PAHs and combustion products |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0117 | 205-99-2 | 1116 | Benzo(b)fluoranthene | Polycyclic aromatic hydrocarbons (PAHs) | PAHs and combustion products |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0118 | 207-08-9 | 1117 | Benzo(k)fluoranthene | Polycyclic aromatic hydrocarbons (PAHs) | PAHs and combustion products |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0119 | 191-24-2 | 1118 | Benzo(ghi)perylene | Polycyclic aromatic hydrocarbons (PAHs) | PAHs and combustion products |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0120 | 193-39-5 | 1204 | Indeno(1,2,3,c,d)pyrene | Polycyclic aromatic hydrocarbons (PAHs) | PAHs and combustion products |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0121 | 84852-15-3 | 1958 | Phenol,4-nonyl-,branched | Alkylphenols | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0122 | - | 6598 | Linear and ramificated nonylphenols | Alkylphenols | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0123 | 1806-26-4 | 1920 | 4-n-octylphenol | Alkylphenols | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0124 | 67554-50-1 | 2904 | Octylphenols | Alkylphenols | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0125 | 2315-67-5 | 6370 | OP1OE | Ethoxylates/carboxylates of octyl/nonyl phenols | Surfactants |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0126 | 2315-61-9 | 6371 | OP2OE | Ethoxylates/carboxylates of octyl/nonyl phenols | Surfactants |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0127 | 1912-24-9 | 1107 | Atrazine | Organochlorides | Herbicides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0128 | 122-34-9 | 1263 | Simazine | Azabenzenes | Herbicides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0129 | 330-54-1 | 1177 | Diuron | Phenylurea compounds | Herbicides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0130 | 34123-59-6 | 1208 | Isoproturon | Organochlorides | Herbicides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0131 | 330-55-2 | 1209 | Linuron | Phenylurea compounds | Herbicides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0132 | 15545-48-9 | 1136 | Chlortoluron | Organochlorides | Herbicides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0133 | 15972-60-8 | 1101 | Alachlor | Organochlorides | Herbicides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0134 | 1582-09-8 | 1289 | Trifluralin | Organochlorides | Herbicides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0135 | 72-20-8 | 1181 | Endrin | Organochlorides | Insecticides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0136 | 94-74-6 | 1212 | 2-methyl-4-chlorophenoxyacetic acid (2,4-MCPA) | Organochlorides | Herbicides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0137 | 94-75-7 | 1141 | 2,4-dichlorophenoxyacetic acid (2,4-D) | Organochlorides | Herbicides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0138 | 470-90-6 | 1464 | Chlorfenvinphos | Organochlorides | Insecticides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0139 | 39475-55-3 | 1083 | Chlorpyrifos ethyl | Organochlorides | Insecticides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0140 | 118-74-1 | 1199 | Hexachlorobenzene | Organochlorides | Fungicides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0141 | 115-29-7 | 1743 | Endosulfan | Organochlorides | Insecticides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0142 | 60-57-1 | 1173 | Dieldrine | Organochlorides | Insecticides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0143 | 309-00-2 | 1103 | Aldrin | Organochlorides | Insecticides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0144 | 465-73-6 | 1207 | Isodrin | Organochlorides | Insecticides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0145 | 19666-30-9 | 1667 | Oxadiazon | Organochlorides | Herbicides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0146 | 58-89-9 | 1203 | Hexachlorocyclohexane (HCH) | Organochlorides | Insecticides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0147 | 72-54-8 | 1144 | 4,4'-DDD | Organochlorides | Insecticides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0148 | 72-55-9 | 1146 | 4,4'-DDE | Organochlorides | Other pesticides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0149 | 50-29-3 | 1148 | 4,4'-DDT | Organochlorides | Insecticides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0150 | 53-19-0 | 1143 | 2,4'-DDD | Organochlorides | Pesticides transformation products |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0151 | 3424-82-6 | 1145 | 2,4'-DDE | Organochlorides | Other pesticides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0152 | 789-02-6 | 1147 | 2,4'-DDT | Organochlorides | Insecticides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0153 | 85535-84-8 | 1955 | Chloroalcanes C10-C13 | Organochlorides | - |  | µg/L |  | 0.001 |  | 1
PC_0154 | 87-86-5 | 1235 | Pentachlorophenol | Organochlorides | Herbicides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0155 | 117-81-7 | 6616 | Diethylhexyl phthalate (DEHP) | Phthalates | Plasticisers |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0156 | 36643-28-4 | 2879 | Tributyltin cation | Organochlorides | Other pesticides |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0157 | - | 1301 | Temperature | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | °C | °C | - |  | 1
PC_0158 | 68891-38-3 | - | Texapon N701 S | Sulfates & sulfonates | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0159 | 157905-74-3 | - | Stepanquat GA 90 | - | Personal care products |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0160 | 151-21-3 | - | Sodium dodecyl sulfate | Sulfates & sulfonates | Surfactants |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0161 | 7651-02-7 | - | Incromine SD | - | Personal care products |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0162 | 68140-00-1 | - | Comperlan 100 | - | Surfactants |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0163 | 139-07-1 | - | Benzyldimethyldodecylammonium chloride (BDDAC) | Organochlorides | Surfactants |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0164 | 139-08-2 | - | Benzyldimethyltetradecylammonium chloride (BDTAC) | Organochlorides | Surfactants |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0165 | 693-33-4 | - | Cetyl betain | - | Personal care products |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0166 | 104-74-5 | - | Lauryl pyridinium chloride | - | Surfactants |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0167 | 126-92-1 | - | Sodium 2-ethylhexyl sulfate | Sulfates & sulfonates | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0168 | 9002-93-1 | - | Triton X100 | Ethoxylates/carboxylates of octyl/nonyl phenols | Surfactants |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0169 | 95-14-7 | 7543 | Benzotriazole | Azoles | Industrial chemicals |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0170 | 1322-98-1 | - | Sodium decylbenzenesulphonate C10 | Sulfates & sulfonates | Surfactants |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0171 | 20466-34-6 | - | Sodium decylbenzenesulphonate C11 | Sulfates & sulfonates | Surfactants |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0172 | 2211-98-5 | - | Sodium decylbenzenesulphonate C12 | Sulfates & sulfonates | Surfactants |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0173 | 26248-24-8 | - | Sodium decylbenzenesulphonate C13 | Sulfates & sulfonates | Surfactants |  | µg/L | µg/g DM | 0.001 |  | 1
PC_0174 | 21312-10-7 | 7001 | N4-acetyl-sulfaméthoxazole (SMX impurity A) | Sulfonamids | Antibiotics |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0175 | 14365-52-7 | - | Sulfamethoxazole B-D-Glucuronide (SMX glucuronide) | Sulfonamids | Antibiotics |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0176 | 17103-52-5 | - | 4-Amino-N-(3-methyl-5-isoxazolyl)benzenesulfonamide (SMX impurity F) | Sulfonamids | Antibiotics |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0177 | 64118-84-9 | - | 4-hydroxy diclofénac (DCF 4HO) | Arylacetic acid derivatives | Anti-inflammatory drugs |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0178 | 69002-84-2 | - | 5-hydroxy diclofénac (DCF 5HO) | Arylacetic acid derivatives | Anti-inflammatory drugs |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0179 | 13625-57-5 | - | Diclofénac carboxylic acid (DCF COOH) | Arylacetic acid derivatives | Anti-inflammatory drugs |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0180 | 64118-81-6 | - | Diclofénac acyl-B-D-glucuronide (DCF glucuronide) | Arylacetic acid derivatives | Anti-inflammatory drugs |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0181 | 71758-44-6 | - | 2-[(2-chlorophenyl)-amino] benzaldehyde (DCF CPAB) | Arylacetic acid derivatives | Anti-inflammatory drugs |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0182 | 22121-58-0 | - | 2-[(2,6-Dichlorophenyl)amino]benzaldehyde (DCF impurity B) | Arylacetic acid derivatives | Anti-inflammatory drugs |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0183 | 15362-40-0 | - | 1-(2,6-Dichlorophenyl)-1,3-dihydro-2H-indol-2-one (DCF lactam) | Arylacetic acid derivatives | Anti-inflammatory drugs |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0184 | 27204-57-5 | - | [2-[(2,6-Dichlorophenyl)amino]phenyl]methanol (DCF impurity C) | Arylacetic acid derivatives | Anti-inflammatory drugs |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0185 | 59-48-3 | - | 1,3-Dihydro-2H-indol-2-one (DCF impurity E) | Arylacetic acid derivatives | Anti-inflammatory drugs |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0186 | - | 5926 | Organic TSS (Total Suspended Solids) | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | % |  | - |  | 1
PC_0187 | - | 6048 | Mineral TSS (Total Suspended Solids) | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | % |  | - |  | 1
PC_0188 | - | 1338 | Sulphates | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | mg/L |  | 1 |  | 1
PC_0189 | - | 1355 | Sulphides | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | mg/L |  | 1 |  | 1
PC_0190 | - | - | Soluble COD (Chemical Oxygen Demand) | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | mg/L |  | 1 |  | 1
PC_0191 | - | 1841 | Organic carbon | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  |  | % DM | - |  | 1
PC_0192 | 7440-70-2 | 1374 | Calcium | Metals & chemical elements | (Metals & chemical elements) |  |  | % CaO DM | - |  | 1
PC_0193 | 7439-95-4 | 1372 | Magnesium | Metals & chemical elements | (Metals & chemical elements) |  |  | % MgO DM | - |  | 1
PC_0194 | 7440-09-7 | 1367 | Potassium | Metals & chemical elements | (Metals & chemical elements) |  |  | % K2O DM | - |  | 1
PC_0195 | 7782-49-2 | 1385 | Selenium | Metals & chemical elements | (Metals & chemical elements) |  |  | µg/g DM | - |  | 1
PC_0196 | 7012-37-5 | 1239 | Polychlorinated biphenyl (PCB) - 28 | Organochlorides | Industrial chemicals |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0197 | 35693-99-3 | 1241 | Polychlorinated biphenyl (PCB) - 52 | Organochlorides | Industrial chemicals |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0198 | 37680-73-2 | 1242 | Polychlorinated biphenyl (PCB) - 101 | Organochlorides | Industrial chemicals |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0199 | 31508-00-6 | 1243 | Polychlorinated biphenyl (PCB) - 118 | Organochlorides | Industrial chemicals |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0200 | 35065-28-2 | 1244 | Polychlorinated biphenyl (PCB) - 138 | Organochlorides | Industrial chemicals |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0201 | 35065-27-1 | 1245 | Polychlorinated biphenyl (PCB) - 153 | Organochlorides | Industrial chemicals |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0202 | 35065-29-3 | 1246 | Polychlorinated biphenyl (PCB) - 180 | Organochlorides | Industrial chemicals |  | ng/L | ng/g DM | 1e-06 |  | 1
PC_0203 |  | 2833 | C/N Ratio | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  |  | - | - |  | 1
PC_0204 | 66840-71-9 | 6824 | DMST | - | - |  | µg/L |  | 0.001 |  |  | 1
PC_0205 | - | - | Benzo(j+k+b)fluoranthene | Organohalogenated compounds | - |  | µg/L |  | 0.001 |  |  | 1
PC_0206 | 14808-79-8 | 1338 | Sulfate anion | Sulfates & sulfonates | - |  | µg/L |  | 0.001 |  |  |  | 1
PC_0207 | 58-55-9 | 7616 | Theophylline | Xanthines | - |  | µg/L |  | 0.001 |  |  | 1
PC_0208 | 7782-50-5 | 1337 | Chlorine anion | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | µg/L |  | 0.001 |  |  |  | 1
PC_0209 | - | 7008 | Total hydrocarbon and volatile hydrocarbon compounds | Classic physico-chemical parameters | (Classic physico-chemical parameters) |  | µg/L |  | 0.001 |  |  |  | 1
PC_0210 | 7429-90-5 | 1370 | Aluminium | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0211 | 7440-36-0 | 1376 | Antimony | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0212 | 7440-41-7 | 1377 | Beryllium | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0213 | 7440-48-4 | 1379 | Cobalt | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0214 | 7439-89-6 | 1393 | Iron | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0215 | 7439-96-5 | 1394 | Manganese | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0216 | 7439-98-7 | 1395 | Molybdene | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0217 | 12595-26-5 | 1368 | Silver | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0218 | 7440-28-0 | 2555 | Thallium | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0219 | 7440-31-5 | 1380 | Tin | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0220 | 7440-32-6 | 1373 | Titane | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0221 | 7440-61-1 | 1361 | Uranium | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0222 | 7440-62-2 | 1384 | Vanadium | Metals & chemical elements | (Metals & chemical elements) |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0223 | WF | WF | DIA | - | WF |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0224 | 3737-09-05 | 7955 | Disopyramide | - | Antiarrhythmic agents |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0225 | 55-56-1 | - | Chlorhexidine | Polybiguanide | Antibacterial |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0226 | 738-70-5 | 5357 | trimethoprim | - | Antibiotics |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0227 | 18323-44-9 | 6792 | clindamycin | Lincosamides | Antibiotics |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0228 | 154-21-2 | 7843 | lincomycine | Lincosamides | Antibiotics |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0229 | 81103-11-9 | 6537 | clarithromycin | Macrolides | Antibiotics |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0230 | 80214-83-1 | 5423 | roxithromycin | Macrolides | Antibiotics |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0231 | 8025-81-8 | 6526 | Spiramycin | Macrolides | Antibiotics |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0232 | 443-48-1 | 6731 | Metronidazole | Nitroimidazoles | Antibiotics |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0233 | 70458-96-7 | 6761 | Norfloxacin | Quinolones & Fluoroquinolones | Antibiotics |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0234 | 82419-36-1 | 6533 | Ofloxacine | Quinolones & Fluoroquinolones | Antibiotics |  | ng/L | ng/g DM | 1e-06 | [5 empty] | 1
PC_0235 | 60142-96-3 | 7602 | Gabapentin | - | Anticonvulsants |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0236 | 125-33-7 | 7961 | Primidone | Barbiturates | Anticonvulsants |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0237 | 83881-51-0 | 7952 | Cetirizine | Azabenzenes | Antihistamines |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0238 | 50-78-2 | 6735 | Aspirin | - | Anti-inflammatory drugs |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0239 | 22204-53-1 | 5351 | Naproxen | Arylacetic acid derivatives | Anti-inflammatory drugs |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0240 | 136470-78-5 | 7948 | Abacavir | - | Antineoplastics |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0241 | 134678-17-4 | 7957 | Lamivudine | - | Antineoplastics |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0242 | 155213-67-5 | 7962 | Ritonavir | - | Antineoplastics |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0243 | 50-18-0 | 6733 | Cyclophosphamide | Oxazaphosphorines | Antineoplastics |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0244 | 3778-73-2 | 6727 | Ifosfamide | Oxazaphosphorines | Antineoplastics |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0245 | 113665-84-2 | 7954 | Clopidogrel | Thienopyridines | Antiplatelet drugs |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0246 | 59-50-7 | 1636 | 4-chloro-3-methylphenol | Organochlorides | Antiseptics |  | ng/L | ng/g DM | 1e-06 |  |  |  | 1
PC_0247 | 28981-97-7 | 5370 | Alprazolam | Benzodiazepines | Anxiolytics |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0248 | 1812-30-2 | 5371 | Bromazepam | Benzodiazepines | Anxiolytics |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0249 | 439-14-5 | 5372 | Diazepam | Benzodiazepines | Anxiolytics |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0250 | 604-75-1 | 5375 | Oxazepam | Benzodiazepines | Anxiolytics |  | ng/L | ng/g DM | 1e-06 |  |  |  | 1
PC_0251 | 66722-44-9 | 6453 | Bisoprolol | - | Beta-Blockers |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0252 | 3930-20-9 | 5424 | Sotalol | - | Beta-Blockers |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0253 | 35763-26-9 | 6527 | Salbutamol | - | Bronchodilators |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0254 | 23031-25-6 | 6963 | Terbutalin | - | Bronchodilators |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0255 | 95-57-8 | 1471 | 2-chlorophenol | Organochlorides | Disinfection by-products (drinking water) |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0256 | 106-48-9 | 1650 | 4-chlorophenol | Organochlorides | Disinfection by-products (drinking water) |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0257 | 58-08-2 | 6519 | Caffeine | Xanthines | Diuretics |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0258 | 1163-19-5 | 1815 | Decabromodiphenylether BDE 209 | Organobromides | Flame retardants |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0259 | 207122-16-5 | 2910 | Heptabromodiphenylether BDE 183 | Organobromides | Flame retardants |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0260 | 36355-01-08 | 1922 | Hexabromobiphenyl | Organobromides | Flame retardants |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0261 | 68631-49-2 | 2912 | Hexabromodiphenylether BDE 153 | Organobromides | Flame retardants |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0262 | 207122-15-4 | 2911 | Hexabromodiphenylether BDE 154 | Organobromides | Flame retardants |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0263 | 189084-64-8 | 2915 | Pentabromodiphenylether BDE 100 | Organobromides | Flame retardants |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0264 | 32534-81-9 | 1921 | Pentabromodiphenylether BDE 99 | Organobromides | Flame retardants |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0265 | 5436-43-1 | 2919 | Tetrabromodiphenylether BDE 47 | Organobromides | Flame retardants |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0266 | 41318-75-6 | 2920 | Tribromodiphenylether BDE 28 | Organobromides | Flame retardants |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0267 | 126-73-8 | 1847 | Tributylphosphate | Organophosphates | Flame retardants |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0268 | 136426-54-5 | 2056 | Fluquinconazole | - | Fungicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0269 | 35554-44-0 | 1704 | Imazalil | - | Fungicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0270 | 101-20-2 | 6989 | Triclocarban | - | Fungicides |  | ng/L | ng/g DM | 1e-06 |  |  |  |  | 1
PC_0271 | 119446-68-3 | 1905 | Difnoconazole | Azoles | Fungicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0272 | 133855-98-8 | 1744 | Epoxiconazole | Azoles | Fungicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0273 | 114369-43-6 | 1906 | Fenbuconazole | Azoles | Fungicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0274 | 85509-19-9 | 1194 | Flusilazole | Azoles | Fungicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0275 | 79983-71-4 | 1405 | Hexaconazole | Azoles | Fungicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0276 | 125116-23-6 | 1879 | Metconazole | Azoles | Fungicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0277 | 60207-90-1 | 1257 | Propiconazole | Azoles | Fungicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0278 | 107534-96-3 | 1694 | Tebuconazole | Azoles | Fungicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0279 | 112281-77-3 | 1660 | Tetraconazole | Azoles | Fungicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0280 | 10605-21-7 | 1129 | Carbendazime | Carbamates | Fungicides |  | ng/L | ng/g DM | 1e-06 |  |  |  | 1
PC_0281 | 95-95-4 | 1548 | 2,4,5 trichlorophenol | Organochlorides | Fungicides |  | ng/L | ng/g DM | 1e-06 |  |  |  | 1
PC_0282 | 88-06-2 | 1549 | 2,4,6 trichlorophenol | Organochlorides | Fungicides |  | ng/L | ng/g DM | 1e-06 |  |  |  | 1
PC_0283 | 131807-57-3 | 2020 | Famoxadone | Oxazolidinediones | Fungicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0284 | 70630-17-0 | 2987 | Metalaxyl-M | Phenylamides | Fungicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0285 | 131860-33-8 | 1951 | Azoxystrobin | Strobilurins | Fungicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0286 | 55219-65-3 | 1280 | Triadiménol | Triazoles | Fungicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0287 | 100646-51-3 | 6637 | Quizalofop-p-ethyl | Aryloxy acids | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0288 | 119738-06-6 | 7617 | Quizalofop-p-terfuryl | Aryloxy acids | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0289 | 25057-89-0 | 1113 | Bentazone | Azabenzenes | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0290 | 51235-04-02 | 1673 | Hexazinone | Azabenzenes | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0291 | 139-40-2 | 1256 | Propazine | Azabenzenes | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0292 | 886-50-0 | 1269 | Terbutryn | Azabenzenes | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0293 | 5915-41-3 | 1268 | Terbutylazine | Azabenzenes | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0294 | 76674-21-0 | 1503 | Flutriafol | Azoles | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0295 | 83164-33-4 | 1814 | Diflufenican | Carboxamides | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0296 | 34256-82-1 | 1903 | Acetochlor | Chloroacetamids | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0297 | 187022-11-3 | 6856 | Acetochlor-ESA | Chloroacetamids | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0298 | 194992-44-4 | 6862 | Acetochlor-OA | Chloroacetamids | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0299 | 50563-36-5 | 2546 | dimtachlor | Chloroacetanilides | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0300 | 67129-08-02 | 1670 | Metazachlore | Chloroacetanilides | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0301 | 51218-45-2 | 1221 | Metolachlor | Organochlorides | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0302 | 171118-09-5 | 6854 | Metolachlor ESA | Organochlorides | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0303 | 152019-73-3 | 6853 | Metolachlor OA | Organochlorides | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0304 | 1071-83-6 | 1506 | Glyphosate | Organophosphates | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0305 | 19937-59-8 | 1222 | Metoxuron | Phenylurea compounds | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0306 | 64902-72-3 | 1353 | Chlorsulfuron | Sulfonylureas | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0307 | 104040-78-0 | 1939 | Flazasulfuron | Sulfonylureas | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0308 | 74223-64-6 | 1797 | Metsulfuron methyl | Sulfonylureas | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0309 | 111991-09-4 | 1882 | Nicosulfuron | Sulfonylureas | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0310 | 2163-68-0 | 1832 | Hydroxyatrazine | Triazines & triazinones | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0311 | 41394-05-02 | 1215 | Metamitron | Triazines & triazinones | Herbicides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0312 | 50-00-0 | 1702 | Formaldehyde | - | Industrial chemicals |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0313 | 92-52-4 | 1584 | Biphenyl | Biphenyls | Industrial chemicals |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0314 | 111-42-2 | 6619 | DEA | Ethanolamines | Industrial chemicals |  | ng/L | µg/g DM | 1e-06 |  |  | 1
PC_0315 | 108-42-9 | 1592 | 3-chloroanilin | Organochlorides | Industrial chemicals |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0316 | 106-47-8 | 1591 | 4-chloroanilin | Organochlorides | Industrial chemicals |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0317 | 28159-98-0 | 1935 | Irgarol | Organotin compounds | Industrial chemicals |  | ng/L | µg/g DM | 1e-06 |  |  | 1
PC_0318 | 78763-54-9 | 2542 | Monobutyltin cation | Organotin compounds | Industrial chemicals |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0319 | 668-34-8 | 6372 | Triphenyltin cation | Organotin compounds | Industrial chemicals |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0320 | 37680-73-2 | 1242 | PCB 101 | Polychlorinated biphenyls | Industrial chemicals |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0321 | 31508-00-6 | 1243 | PCB 118 | Polychlorinated biphenyls | Industrial chemicals |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0322 | 35065-28-2 | 1244 | PCB 138 | Polychlorinated biphenyls | Industrial chemicals |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0323 | 35065-27-1 | 1245 | PCB 153 | Polychlorinated biphenyls | Industrial chemicals |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0324 | 35065-29-3 | 1246 | PCB 180 | Polychlorinated biphenyls | Industrial chemicals |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0325 | 7012-37-5 | 1239 | PCB 28 | Polychlorinated biphenyls | Industrial chemicals |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0326 | 35693-99-3 | 1241 | PCB 52 | Polychlorinated biphenyls | Industrial chemicals |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0327 | 83-32-9 | 1453 | Acenaphtene | Polycyclic aromatic hydrocarbons (PAHs) | Industrial chemicals |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0328 | 208-96-8 | 1622 | Acenaphthylene | Polycyclic aromatic hydrocarbons (PAHs) | Industrial chemicals |  | ng/L | µg/g DM | 1e-06 |  |  | 1
PC_0329 | 56-55-3 | 1082 | Benz(a)anthracene | Polycyclic aromatic hydrocarbons (PAHs) | Industrial chemicals |  | ng/L | µg/g DM | 1e-06 |  |  | 1
PC_0330 | 192-97-2 | 1460 | Benzo(e)pyrene | Polycyclic aromatic hydrocarbons (PAHs) | Industrial chemicals |  | ng/L | µg/g DM | 1e-06 |  |  | 1
PC_0331 | - | - | Dibenz(ah+ac)anthracene | Polycyclic aromatic hydrocarbons (PAHs) | Industrial chemicals |  | ng/L | µg/g DM | 1e-06 |  |  | 1
PC_0332 | 86-73-7 | 1623 | Fluorene | Polycyclic aromatic hydrocarbons (PAHs) | Industrial chemicals |  | ng/L | µg/g DM | 1e-06 |  |  | 1
PC_0333 | 198-55-0 | 1620 | Perylene | Polycyclic aromatic hydrocarbons (PAHs) | Industrial chemicals |  | ng/L | µg/g DM | 1e-06 |  |  | 1
PC_0334 | 85-01-8 | 1524 | Phenanthrène | Polycyclic aromatic hydrocarbons (PAHs) | Industrial chemicals |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0335 | 129-00-0 | 1537 | Pyrene | Polycyclic aromatic hydrocarbons (PAHs) | Industrial chemicals |  | ng/L | µg/g DM | 1e-06 |  |  | 1
PC_0336 | - | 3018 | Triphenylene+chrysene | Polycyclic aromatic hydrocarbons (PAHs) | Industrial chemicals |  | ng/L | µg/g DM | 1e-06 |  |  | 1
PC_0337 | 55285-14-8 | 1864 | Carbosulfan | Carbamates | Insecticides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0338 | 2032-65-7 | 1510 | Methiocarb | Carbamates | Insecticides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0339 | 138261-41-3 | 1877 | Imidacloprid | Neonicotinoids | Insecticides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0340 | 153719-23-4 | 6390 | Thiamethoxam | Neonicotinoids | Insecticides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0341 | 2385-85-5 | 5438 | Mirex | Organochlorides | Insecticides |  | ng/L | ng/g DM | 1e-06 |  |  |  | 1
PC_0342 | 2921-88-2 | 1083 | Chlorpyrifos | Organophosphates | Insecticides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0343 | 333-41-5 | 1157 | Diazinon | Organophosphates | Insecticides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0344 | 5598-13-0 | 1540 | Chlorpyrifos-methyl | Organophosphates | Insecticides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0345 | 120068-37-3 | 2009 | Fipronil | Phenylpyrazoles | Insecticides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0346 | 205650-65-3 | 6262 | Fipronil desulfinil | Phenylpyrazoles | Insecticides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0347 | 120067-83-6 | 6261 | Fipronil sulfide | Phenylpyrazoles | Insecticides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0348 | 120068-36-2 | 6260 | Fipronil sulfone | Phenylpyrazoles | Insecticides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0349 | 82657-04-03 | 1120 | Bifenthrine | Pyrethroids | Insecticides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0350 | 68359-37-5 | 1681 | Cyfluthrine | Pyrethroids | Insecticides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0351 | 52315-07-08 | 1140 | Cyperméthrine | Pyrethroids | Insecticides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0352 | 52918-63-5 | 1149 | Deltamethrine | Pyrethroids | Insecticides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0353 | 66230-04-04 | 1809 | Esfenvalerate | Pyrethroids | Insecticides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0354 | 51630-58-1 | 1701 | Fenvalerate | Pyrethroids | Insecticides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0355 | 41859-67-0 | 5366 | Bezafibrate | Fibrates | Lipid regulators |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0356 | 0882-09-07 | 5408 | Clofibric acid | Fibrates | Lipid regulators |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0357 | 49562-28-9 | 5368 | Fenofibric acid | Fibrates | Lipid regulators |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0358 | 25812-30-0 | 5365 | Gemfibrozil | Fibrates | Lipid regulators |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0359 | 81093-37-0 | 6771 | Pravastatin | Statins | Lipid regulators |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0360 | 6197-30-4 | 6686 | Octocrylene | - | Personal care products |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0361 | 26172-55-4 | - | Methylchloroisothiazolinone | Isothiazolinones | Personal care products |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0362 | 2682-20-4 | - | Methylisothiazolinone | Isothiazolinones | Personal care products |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0363 | 3380-34-5 | 5430 | Triclosan | Organochlorides | Personal care products |  | ng/L | ng/g DM | 1e-06 |  |  |  |  | 1
PC_0364 | 94-18-8 | - | Benzylparaben | Parabens | Personal care products |  | ng/L | ng/g DM | 1e-06 |  |  |  |  | 1
PC_0365 | 94-26-8 | 6988 | Butylparaben | Parabens | Personal care products |  | ng/L | ng/g DM | 1e-06 |  |  |  |  | 1
PC_0366 | 120-47-8 | 6644 | Ethylparaben | Parabens | Personal care products |  | ng/L | ng/g DM | 1e-06 |  |  |  | 1
PC_0367 | 4247-02-03 | 6663 | Isobutylparaben | Parabens | Personal care products |  | ng/L | ng/g DM | 1e-06 |  |  |  |  | 1
PC_0368 | 99-76-3 | 6695 | Methylparaben | Parabens | Personal care products |  | ng/L | ng/g DM | 1e-06 |  |  |  | 1
PC_0369 | 94-13-3 | 6693 | Propylparaben | Parabens | Personal care products |  | ng/L | ng/g DM | 1e-06 |  |  |  | 1
PC_0370 | 5428-50-2 | 7619 | 1,2,4 DCPU | Phenylurea compounds | Other pesticides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0371 | 2327-02-08 | 1930 | 1,3,4 DCPU | Phenylurea compounds | Other pesticides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0372 | 3567-62-2 | 1929 | 1,3,4,3 DCPMU | Phenylurea compounds | Other pesticides |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0373 | 2599-11-3 | 1831 | Hydroxysimazine | Azabenzenes | Pesticides transformation products |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0374 | 30125-63-4 | 2045 | Terbuthylazine-desethyle | Azabenzenes | Pesticides transformation products |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0375 | 77521-29-0 | 1907 | AMPA | Glutamatergics | Other pharmaceuticals |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0376 | 304-55-2 | 7618 | DMSA | Organosulfur compounds | Other pharmaceuticals |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0377 | 51146-55-5 | 7012 | 2-hydroxyibuprofen | - | Pharmaceuticals transformation products |  | ng/L | ng/g DM | 1e-06 | [5 empty] | 1
PC_0378 | 53949-53-4 | 7011 | Hydroxy-ibuprofen | - | Pharmaceuticals transformation products |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0379 | 80-05-7 | 2766 | Bisphenol A | Bisphenols | Plasticisers |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0380 | 85-68-7 | 1924 | Butyl benzyl phtalate | Phthalates | Plasticisers |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0381 | 84-66-2 | 1527 | Diethyl phtalate | Phthalates | Plasticisers |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0382 | 84-69-5 | 5325 | Diisobutyl phthalate | Phthalates | Plasticisers |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0383 | 84-74-2 | 1462 | n-Butyl Phtalate | Phthalates | Plasticisers |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0384 | 50-48-6 | 6967 | Amitriptyline | - | Psychiatric drugs |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0385 | 54910-89-3 | 5373 | Fluoxetine | - | Psychiatric drugs |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0386 | 1088-11-5 | 7607 | Nordiazepam | Benzodiazepines | Psychiatric drugs |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0387 | 50-49-7 | 6971 | Imipramine | Dibenzazepines | Psychiatric drugs |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0388 | 134523-00-5 | 7950 | Atorvastatin | Statins | Statins |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0389 | 50-28-2 | 5397 | Estradiol | Steroids | Steroids and hormones |  | ng/L | ng/g DM | 1e-06 | [5 empty] | 1
PC_0390 | 50-27-1 | 6446 | Estriol | Steroids | Steroids and hormones |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0391 | 53-16-7 | 5396 | Estrone | Steroids | Steroids and hormones |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0392 | 70356-09-01 | - | Butylmethoxybenzoylmethane | - | Sun-screen agents |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0393 | 131-57-7 | - | 2-hydroxy-4-methoxybenzophenone | Benzophenons | Sun-screen agents |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0394 | 119-61-9 | 5704 | Benzophenone | Benzophenons | Sun-screen agents |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0395 | 302776-68-7 | - | Diethylamino-hydroxybenzoylhexylbenzoate | Benzophenons | Sun-screen agents |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0396 | 5466-77-3 | 7816 | Octylmethoxycinnamate | Cinnamic acids | Sun-screen agents |  | ng/L | ng/g DM | 1e-06 |  |  | 1
PC_0397 | 335-76-2 | 6509 | Perfluoro-N-decanoic acid | Perfluoroalkylated substances | Surfactants |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0398 | 1763-23-1 | 6560 | Perfluorooctanesulfonique acid (PFOS) | Perfluoroalkylated substances | Surfactants |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0399 | 79241-46-6 | 1404 | Fluazifop-p-butyl | Phenoxies | Surfactants |  | µg/L | µg/g DM | 0.001 |  |  | 1
PC_0400 | 88-72-2 | 2613 | 2-nitrotoluène | - | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0401 | 14488-53-0 | 7074 | Dibutyltin cation | - | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0402 | 67-56-1 | 2052 | Methanol | - | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0403 | 1806-26-4 | 1920 | p-octylphenols | Alkylphenols | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0404 | 95-94-3 | 1631 | 1,2,4,5 tetrachlorobenzene | Chlorobenzenes | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0405 | 98-95-3 | 2614 | Nitrobenzène | Cyanides | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0406 | 57-12-5 | 1390 | Total Cyanides | Cyanides | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0407 | 120-83-2 | 1486 | 2,4 dichlorophenol | Organochlorides | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0408 | 95-51-2 | 1593 | 2-chloroanilin | Organochlorides | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0409 | 108-43-0 | 1651 | 3-chlorophenol | Organochlorides | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0410 | 79-11-8 | 1465 | Chloroacetic acid | Organochlorides | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0411 | 108-95-2 | 5515 | Phenol | Phenols & phenolic acids | Synthesis intermediates and solvents |  | µg/L | µg/g DM | 0.001 |  |  |  | 1
PC_0412 | 29699-89-6 | - | 4-Nitro-sulfaméthoxazole (SMX-NO2) | Sulfonamids | Antibiotics |  | ng/L | ng/g DM | 1e-06 |  | 1

## Bioassay list
ID bioassay | Bioassay | Category (à renseigner dans votre base selon vos besoins) | Biological model | Precision on the biological model | Toxicity type | Bioassay unit | SIPIBEL | REMPAR | LUMIEAU-Stra | COSMET'EAU | SMS | MICROMEGAS | BIOTECH | MATRIOCHKAS | MICROPOLIS | MICRO-REUSE | REGARD | ROULEPUR | SENEUR
BE_0001 | Daphnia magna Strauss - Mobility inhibition |  | Microcrustacean | Daphnia magna | Acute toxicity | % sample | 1
BE_0002 | Vibrio fisheri (Microtox) - Luminescence inhibition |  | Bacteria | Vibrio fisheri | Acute toxicity | % sample | 1
BE_0003 | Pseudokirchneriella subcapitata - Growth inhibition |  | Microalgae | Pseudokirchneriella subcapitata | Chronic toxicity | % sample | 1
BE_0004 | Brachionus calyciflorus - Population growth inhibition |  | Invertebrate | Brachionus calyciflorus | Chronic toxicity | % sample | 1
BE_0005 | Heterocypris incongruens - Growth inhibition |  | Microcrustacean | Heterocypris incongruens | Chronic toxicity | % growth inhibition | 1
BE_0006 | Ceriodaphnia dubia |  | Microcrustacean | Ceriodaphnia dubia | Chronic toxicity | % sample | 1
BE_0007 | Comet assay - Cytotoxicity assay |  | Fish cell culture | Lignée RTL W1 | Cellular toxicity | % sample | 1
BE_0008 | Comet assay |  | Fish cell culture | Lignée RTL W1 | Genotoxicity | % sample | 1
BE_0009 | Ames test - S. typhimurium TA98 |  | Bacteria | Salmonella typhimurium S. TA98 | Genotoxicity | Number of revertant well (/48) | 1
BE_0010 | Ames test - S. typhimurium TAMIX |  | Bacteria | Salmonella typhimurium S. TAMIX | Genotoxicity | Number of revertant well (/48) | 1
BE_0011 | SOS Chromotest - Cytotoxicity assay |  | Bacteria | E. coli S. PQ37 | Cellular toxicity | % sample | 1
BE_0012 | Oestrogenic disrupting effect (MCF7) - Agonist |  | Human cell culture | Cell line MCF7 | Endocrine disruptor effect | Eq E2 ng/L | 1
BE_0013 | Thyroid disrupting effect (PC12)- Agonist |  | Human cell culture | Cell line PC12 | Endocrine disruptor effect | WF | 1
BE_0014 | Eisenia fetida - Avoidance |  | Earthworm | Eisenia fetida | Acute toxicity | % avoidance | 1
BE_0015 | Eisenia fetida - Fatality |  | Earthworm | Eisenia fetida | Acute toxicity | % mortality | 1
BE_0016 | Eisenia fetida - Reproduction |  | Earthworm | Eisenia fetida | Chronic toxicity | WF | 1
BE_0017 | Heterocypris incongruens - Growth inhibition - CE20 |  | Microcrustacean | Heterocypris incongruen | Chronic toxicity | % sample | 1
BE_0018 | Oestrogenic disrupting effect (MCF7) - Antagonist |  | Human cell culture | Cell line MCF7 | Endocrine disruptor effect | WF | 1
BE_0019 | Estrogen receptor (MCF7) - Cytotoxicity |  | Human cell culture | Cell line MCF7 | Cellular toxicity | % mortality | 1
BE_0020 | Thyroid disrupting effect (PC12) - Antagonist |  | Human cell culture | Cell line PC12 | Endocrine disruptor effect | WF | 1
BE_0021 | Thyroid hormone receptor (PC12) - Cytotoxicity |  | Human cell culture | Cell line PC12 | Cellular toxicity | % mortality | 1
BE_0022 | Micronucleus assay |  | Cell culture | Cell line CHO | Acute toxicity | Micronuclei | 1
BE_0023 | Micronucleus - Cytotoxicity assay |  | Cell culture | Cell line CHO | Cellular toxicity | % sample | 1
BE_0024 | Ames test -TA98 - Cytotoxicity assay |  | Bacteria | Salmonella typhimurium S. TA98 | Cellular toxicity | % sample | 1
BE_0025 | Ames test -TAMIX - Cytotoxicity assay |  | Bacteria | Salmonella typhimurium S. TAMIX | Cellular toxicity | % sample | 1
BE_0026 | SOS Chromotest - E. coli PQ37 |  | Bacteria | E. coli souche PQ37 | Genotoxicity | - | 1
BE_0027 | Ceriodaphnia Dubia - 3 generations |  | Invertebrate | Ceriodaphnia Dubia | Chronic toxicity | WF | 1
BE_0028 | Androgenic disrupting effect (AIZ-AR) - Agonist |  | Human cell culture | Model AIZ-AR prostate cancer | Endocrine disruptor effect | Eq DHT ng/L | 1
BE_0029 | Androgenic disrupting effect (AIZ-AR) - Antagonist |  | Human cell culture | Model AIZ-AR prostate cancer | Endocrine disruptor effect | Eq flutamide ng/L | 1
BE_0030 | Androgenic disrupting effect (AIZ-AR) - Cytotoxicity |  | Human cell culture | Model AIZ-AR prostate cancer | Cellular toxicity | % sample | 1
BE_0032 | Wheat - Seed germination |  | Terrestrial plant | Wheat | Acute toxicity | % germination inhibition | 1
BE_0033 | Black radish - Seed germination |  | Terrestrial plant | Black radish | Acute toxicity | % germination inhibition | 1
BE_0034 | Tomato - Seed germination |  | Terrestrial plant | Tomato | Acute toxicity | % germination inhibition | 1
BE_0035 | Heterocypris incongruens - Mortality |  | Microcrustacean | Heterocypris incongruen | Chronic toxicity | % mortality | 1
BE_0036 | Wheat - Early growth inhibition |  | Terrestrial plant | Wheat | Acute toxicity | % growth inhibition | 1
BE_0037 | Black radish - Early growth inhibition |  | Terrestrial plant | Black radish | Acute toxicity | % growth inhibition | 1
BE_0038 | Tomato - Early growth inhibition |  | Terrestrial plant | Tomato | Acute toxicity | % growth inhibition | 1
BE_0039 | Androgenic disrupting effect (HELN-AR) - Agonist |  | Human cell culture | Cell line HELN-AR | Endocrine disruptor effect | Eq DHT ng/L |  |  | 1
BE_0040 | Androgenic disrupting effect (HELN-AR) - Antagonist |  | Human cell culture | Cell line HELN-AR | Endocrine disruptor effect | Eq flutamide ng/L |  |  | 1
BE_0041 | Androgenic disrupting effect (HELN-AR) - Cytotoxicity |  | Human cell culture | Cell line HELN-AR | Endocrine disruptor effect | % sample |  |  | 1
BE_0042 | Androgenic systemic disrupting effect - Agonist |  | Rat cell culture | Gonadial cells | Endocrine disruptor effect | WF |  |  | 1
BE_0043 | Androgenic systemic disrupting effect - Antagonist |  | Rat cell culture | Gonadial cells | Endocrine disruptor effect | WF |  |  | 1
BE_0044 | Androgenic systemic disrupting effect - Cytotoxicity |  | Rat cell culture | Gonadial cells | Cellular toxicity | % sample |  |  | 1
BE_0045 | Chlamydomonas reinhardtii - Photosynthesis |  | Microalgae | Chlamydomonas reinhardtii | Cellular toxicity | % sample |  |  | 1
BE_0046 | Chlamydomonas reinhardtii - Phototaxis |  | Microalgae | Chlamydomonas reinhardtii | Cellular toxicity | % sample |  |  | 1
BE_0047 | Chlamydomonas reinhardtii - Toxicity assay |  | Microalgae | Chlamydomonas reinhardtii | WF | % sample |  |  | 1
BE_0048 | Chlamydomonas reinhardtii (deficient strain) - Toxicity assay |  | Microalgae | Chlamydomonas reinhardtii | WF | % sample |  |  | 1
BE_0049 | E. coli - Toxicity assay |  | Bacteria | E.coli | Cellular toxicity | % sample |  |  | 1
BE_0050 | E. coli (deficient strain) - Toxicity assay |  | Bacteria | E.coli | Cellular toxicity | % sample |  |  | 1
BE_0051 | Gene marker (E. coli) |  | Bacteria | E.coli | Cellular toxicity | % sample |  |  | 1
BE_0052 | H2AX (ACHN) |  | Human cell culture | Cell line ACHN | Genotoxicity | WF |  |  | 1
BE_0053 | H2AX (LS174T) |  | Human cell culture | Cell line LS174T | Genotoxicity | WF |  |  | 1
BE_0054 | Human primary cell - Toxicity assay |  | Human cell culture | Blood cell | Cellular toxicity | % sample |  |  | 1
BE_0055 | MARA - Toxicity assay |  | Bacteria | E.coli | WF | % sample |  |  | 1
BE_0056 | Membrane alteration (E. coli) |  | Bacteria | E.coli | Cellular toxicity | % sample |  |  | 1
BE_0057 | Metallic stress (E. coli) |  | Bacteria | E.coli | Cellular toxicity | % sample |  |  | 1
BE_0058 | Oestrogenic disrupting effect (HELM-ER) - Agonist |  | Human cell culture | Cell line HELM-ER | Endocrine disruptor effect | Eq E2 ng/L |  |  | 1
BE_0059 | Oestrogenic disrupting effect (HELM-ER) - Antagonist |  | Human cell culture | Cell line HELM-ER | Endocrine disruptor effect | WF |  |  | 1
BE_0060 | Oestrogenic disrupting effect (HELM-ER) - Cytotoxicity |  | Human cell culture | Cell line HELM-ER | Cellular toxicity | % sample |  |  | 1
BE_0061 | Peroxydant stress (E. coli) |  | Bacteria | E.coli | Cellular toxicity | % sample |  |  | 1
BE_0062 | Reprotoxicity - Animal primary cell |  | Rat cell culture | Gonadial cells | Cellular toxicity | % sample |  |  | 1
BE_0063 | Saccharomyces cerevisiae - Toxicity assay |  | Fungi | Saccharomyces cerevisiae | WF | WF |  |  | 1
BE_0064 | Saccharomyces cerevisiae (deficient strain) - Toxicity assay |  | Fungi | Saccharomyces cerevisiae | WF | WF |  |  | 1
BE_0065 | Septoria tritici - Toxicity assay |  | Fungi | Septoria tritici | WF | WF |  |  | 1
BE_0066 | Temtox (HepG2) |  | Human cell culture | Cell line HepG2 | Cellular toxicity | % sample |  |  | 1
BE_0067 | Thyroïdic disrupting effect (HG5LN) - Agonist |  | Human cell culture | Cell line HG5LN | Endocrine disruptor effect | WF |  |  | 1
BE_0068 | Thyroïdic disrupting effect (HG5LN) - Antagonist |  | Human cell culture | Cell line HG5LN | Endocrine disruptor effect | WF |  |  | 1
BE_0069 | Thyroïdic disrupting effect (HG5LN) - Cytotoxicity |  | Human cell culture | Cell line HG5LN | Cellular toxicity | % sample |  |  | 1
| SOS Chromotest |  | Bacteria | E. coli |  |  |  |  | 1
Note on E49: P720: préciser la souche
Note on E50: P720: préciser la souche
Note on E51: P720: préciser la souche
Note on E55: P720: préciser la souche
Note on E56: P720: préciser la souche
Note on E57: P720: préciser la souche
Note on E61: P720: préciser la souche
Note on B70: P720: Est-ce la souche PQ37 ? Si oui, nous avons le même test sur SIPIBEL
Note on E70: P720: Est-ce la souche PQ37 ? Si oui, nous avons le même test sur SIPIBEL

## Microbiological test list
ID test | Microbiological test | Category (à modifier dans votre base selon vos besoins) | Unit in liquid | Unit in solid | Conversion factor to m3 | SIPIBEL | REMPAR | LUMIEAU-Stra | COSMET'EAU | SMS | MICROMEGAS | BIOTECH | MATRIOCHKAS | MICROPOLIS | MICRO-REUSE | REGARD | ROULEPUR | SENEUR
MT_0001 | Antibiotic resistance - Integrons | ATBR | copies/L | copies/g DM | 1000 | 1
MT_0002 | Pseudomonas aeroginosa | Bacteria | CFUs (colony-forming units)/100 mL |  | 10000 | 1
MT_0003 | Roundworm eggs | Parasite Load |  | eggs/g DM | - | 1
MT_0004 | Trichuris eggs | Parasite Load |  | eggs/g DM | - | 1
MT_0005 | Pinworm eggs | Parasite Load |  | eggs/g DM | - | 1
MT_0006 | Other nematodes eggs | Parasite Load |  | eggs/g DM | - | 1
MT_0007 | Cestodes eggs | Parasite Load |  | eggs/g DM | - | 1
MT_0008 | Small moat eggs | Parasite Load |  | eggs/g DM | - | 1
MT_0009 | Trematodes | Parasite Load |  | individuals/g DM | - | 1
MT_0010 | Larvae | Parasite Load |  | individuals/g DM | - | 1
MT_0011 | Oocysts of coccidia | Parasite Load |  | oocysts/g DM | - | 1
MT_0012 | Mites eggs | Parasite Load |  | eggs/g DM | - | 1
MT_0013 | Mites | Parasite Load |  | individuals/g DM | - | 1
MT_0014 | Tardigrades | Parasite Load |  | individuals/g DM | - | 1
MT_0015 | Thermotolerant coliforms | Bacteria |  | bacteria/g DM | - | 1
MT_0016 | Butyric acid spores | Bacteria |  | spores/g DM | - | 1
MT_0017 | Spores of sulfite-reducing anaerobes | Bacteria |  | spores/g DM | - | 1
MT_0018 | Salmonella | Bacteria |  | bacteria/g DM | - | 1
X

## Hydrobiological index list
ID index | Hydrobiological index | SIPIBEL | REMPAR | LUMIEAU-Stra | COSMET'EAU | SMS | MICROMEGAS | BIOTECH | MATRIOCHKAS | MICROPOLIS | MICRO-REUSE | REGARD | ROULEPUR | SENEUR
HT_0001 | IBGN (Indice Biologique Global Normalisé) - DCE | 1
HT_0002 | Corrected IBGN (Indice Biologique Global Normalisé) - DCE | 1
HT_0003 | BDI (Biological Diatom Index) | 1
HT_0004 | IPS (Polluosensibility index) | 1

## Drop-down list (hidden)
Sample matrix | Type of treatment plant | Type of tertiary treatment | Biological model | Precision | Sampler | JOUR | MOIS | ANNEE | HEURE | MINUTE |  | Concentration |  |  | Time between sampling and analysis |  |  |  | Fraction | Coverage factor | Sample preparation method | Analytical method | Validation protocol | Question |  | Summary of performance |  | Strain | Extract | Specific treatment | Toxicity | Effect | Endpoint | Test conditions |  | Data reliability |  |  | Qualité
Activated sludge - Urban | 1. Simple screening | Neant | Algae | Salmonella typhimurium souche TA98 | Préleveur fixe entrée STEP urbain | 1 | 1 | 2010 | 0 | 0 | 1 - | Individual value | 1 - Individual value | 1 - | Respected time | 1 - Respected time | 1 - | Dissolved fraction | 1 - Dissolved fraction | 1 | Accelerated solvent extraction (ASE) | AMA | V1 | Yes | 1 - | z-score (according to ISO-13528) < 3 | 1 - z-score (according to ISO-13528) < 3 | S. typhimurium souche TA98 | C18 | With Fpg | Acute toxicity | Anesthesia | EC0 | Static | 1 - | Reliable without restriction | 1 - Reliable without restriction | 1 - | Bonne | 1 - Bonne
Activated sludge - Hospital | 2. Pretreatment + primary sedimentation tank | A.1. Sand filter | Bacteria | Salmonella typhimurium souche TAMIX | Préleveur fixe entrée STEP hopital | 2 | 2 | 2011 | 1 | 1 | 2 - | Less than LoQ | 2 - Less than LoQ | 2 - | Timeout | 2 - Timeout | 2 - | Whole water with no separation of liquid and SPM phases | 2 - Whole water with no separation of liquid and SPM phases | 2 | Digestion | CE-DAD | V2 | No | 2 - | z-score (according to ISO-13528) > 3 | 2 - z-score (according to ISO-13528) > 3 | S. typhimurium souche TAMIX | HLB | Without Fpg | Chronic toxicity | Agonist | EC01 | Semi-static | 2 - | Reliable with restriction | 2 - Reliable with restriction | 2 - | Moyenne | 2 - Moyenne
Ground water | 3. Pretreatment + physical and chemical primary sedimentation tank | A.2. Sand filter+ chlorination | Cell culture | Lignée de cellules PC12 | Préleveur fixe sortie STEP urbain | 3 | 3 | 2012 | 2 | 2 | 3 - | Less than LoD | 3 - Less than LoD |  |  |  | 3 - | Whole water with determination on each separate phase (sum of all phases) | 3 - Whole water with determination on each separate phase (sum of all phases) | 3 | Dynamic headspace | CE-FLD | V3 | Not known | 3 - | Not known | 3 - Not known |  | ASE | With bioactivation | Cellular toxicity | Antagonist | EC10 | Flow-through | 3 - | Not reliable | 3 - Not reliable | 3 - | Mauvaise | 3 - Mauvaise
Raw water - Urban | 4. Pretreatment + activated sludge including SBR (C+N±P) | B. Tertiary membrane | CyanoBacteria | Lignée de cellules MCF7 | Préleveur fixe sortie STEP hopital | 4 | 4 | 2013 | 3 | 3 | [6 empty] | 4 - | TSS phase (difference between whole water and dissolved fraction) | 4 - TSS phase (difference between whole water and dissolved fraction) | 4 | Liquid-liquid extraction (LLE) | CE-MS or MS/MS | No | Not applicable | 4 - | Not applicable | 4 - Not applicable |  |  | Without bioactivation | Genotoxicity | Germination | EC20 |  | 4 - | Not assignable | 4 - Not assignable
Raw water - Hospital | 4'. Pretreatment + activated sludge including SBR (C) | B.1. Reverse osmosis | Earthworm | E. coli souche PQ37 | Préleveur mobile Arve | 5 | 5 | 2014 | 4 | 4 | [6 empty] | 5 - | TSS phase | 5 - TSS phase | Not known | Microwave assisted digestion | CE-MWD | Not known | [6 empty] | - | Endocrine disruptor effect | Cytotoxicity | EC50
Raw water - Industrial | 5. Pretreatment + primary sedimentation tank + activated sludge including SBR (C) | B.2. Ion exchange | Fish |  |  | 6 | 6 | 2015 | 5 | 5 | [6 empty] | 6 - | Sludge | 6 - Sludge |  | Microwave assisted extraction (MAE) | CE-UV | [9 empty] | DNA damage | EC90
Sediment | 5'. Pretreatment + primary sedimentation tank+ activated sludge including SBR (C?) | C.1. Chlorination | Fish cell culture |  |  | 7 | 7 | 2016 | 6 | 6 | [10 empty] | Off-line without sample preparation method | ETA-AAS | [9 empty] | Growth | EC100
Surface water - River | 6. Pretreatment + primary sedimentation tank+ activated sludge including SBR (C + N ± P) | C.2. UV | Human celle culture |  |  | 8 | 8 | 2017 | 7 | 7 | [10 empty] | On-line | ETA-OES | [9 empty] | Growth inhibition | LC50
Surface water - Lake | 6'. Pretreatment + primary sedimentation tank+ activated sludge including SBR (C ± N + P) | C.2'.UV/H2O2 | Invertebrate |  |  | 9 | 9 | 2018 | 8 | 8 | [10 empty] | On-line SPE | F-AAS | [9 empty] | Growth rate inhibition | LC100
Treated water - Urban | 7. Pretreatment + primary sedimentation tank + fixed biomass reactor (trickling filter, biodisc) | C.3. Ozonation | Microalgae |  |  | 10 | 10 | 2019 | 9 | 9 | [10 empty] | Solid-phase extraction (SPE) using columns C18 | F-OES | [9 empty] | Hatchability | LOEC
Treated water - Hospital | 8. Pretreatment + primary sedimentation tank (± reagents) + immerged biofilter | D. Activated carbon | Macrophyte |  |  | 11 | 11 | 2020 | 10 | 10 | [10 empty] | Solid-phase extraction (SPE) using columns HLB | GC-ECD | [9 empty] | Luminescence inhibition | NOEC
Treated water - Industrial | 9. Pretreatment + membrane (C + N) | E.1. Tertiary clarifier | Microorganisms |  |  | 12 | 12 |  | 11 | 11 | [10 empty] | SPE using membrane extraction disks | GC-FID | [9 empty] | Mobility inhibition | NEL
| 10. Pretreatment + waste stabilization ponds | EP.1. Coagulation/flocculation/sedimentation | Rat celle culture |  |  | 13 |  |  | 12 | 12 | [10 empty] | SPME | GC-MS or MS/MS | [9 empty] | Mortality | TOXlim
| 11. Pretreatment + rhizopur | EP.2. Coagulation/flocculation/sedimentation + disinfection ( CL2, ozone) | Terrestrial plant |  |  | 14 |  |  | 13 | 13 | [10 empty] | Static headspace | GC-NPD | [9 empty] | Mutation | DL50
| 12. Pretreatment + constructed wetlands | F. Tertiary membrane + reverse osmosis+ chorination | Microcrustacean |  |  | 15 |  |  | 14 | 14 | [10 empty] | Supercritical fluid extraction (SFE) | GC-PID | [9 empty] | Nitrification inhibition | Viability
| Neant | Other |  |  |  | 16 |  |  | 15 | 15 | [10 empty] | Ultrasonic extraction (USE) | HG-AAS | [9 empty] | Population growth inhibition | Tail intensity
| Batch experience |  |  |  |  | 17 |  |  | 16 | 16 | [10 empty] | Other | HPLC-DAD | [9 empty] | Pulse rate | Number of revertant well (/48)
| Other |  |  |  |  | 18 |  |  | 17 | 17 | [10 empty] | - | HPLC-ELD | [9 empty] | Reproduction | Luciferase activity
[6 empty] | 19 |  |  | 18 | 18 | [11 empty] | HPLC-FLD | [9 empty] | Respiration inhibition | Growth inhibition
[6 empty] | 20 |  |  | 19 | 19 | [11 empty] | HPLC-MS or MS/MS | [9 empty] | Sex ratio | Mortality
[6 empty] | 21 |  |  | 20 | 20 | [11 empty] | HPLC-MWD | [10 empty] | SOS Induction Factor
[6 empty] | 22 |  |  | 21 | 21 | [11 empty] | HPLC-UV | [10 empty] | Micronuclei / well
[6 empty] | 23 |  |  | 22 | 22 | [11 empty] | ICP-MS
[6 empty] | 24 |  |  | 23 | 23 | [11 empty] | ICP-OES
[6 empty] | 25 |  |  |  | 24 | [11 empty] | Other
[6 empty] | 26 |  |  |  | 25
[6 empty] | 27 |  |  |  | 26
[6 empty] | 28 |  |  |  | 27
[6 empty] | 29 |  |  |  | 28
[6 empty] | 30 |  |  |  | 29
[6 empty] | 31 |  |  |  | 30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59